Fire Risk Assessment - A Guide

Introduction

Licensed Houses in Multiple Occupation (HM0s) fall under the provisions of the Regulatory Reform (Fire Safety) Order 2005 (FSO) and are required to carry out a fire safety assessment. In addition it will help demonstrate that as the responsible person for the HMO you are taking your duties seriously.

Other residential blocks or converted houses where there are common parts (e.g. shared stairs, halls etc.)

A Fire Risk Assessment is a tool to identify potential fire hazards and enable actions to be taken to remove or reduce these hazards to as low a level as practically possible and then decide what physical fire precautions and management arrangements are necessary to ensure people's safety.

What is a fire risk assessment?

A fire risk assessment is an organized and methodical look at the premises, the activities carried on there and the likelihood that a fire could start and cause harm to those in and around the premises. In most properties it will be straightforward to carry out a fire risk assessment, but in large or mixed use properties specialist advice may be required.

The aims of the fire risk assessment are:

- To identify the fire hazards;

- To reduce the risk to as low as reasonably practicable; and

- To decide what physical fire precautions and management arrangements are necessary to ensure the safety of people in the premises if a fire does start. A "hazard" is anything that has the potential to cause harm and the "risk" is the chance of that harm occurring

This guidance on fire safety can also be found in London Borough of Hammersmith and Fulham website:

More detailed guidance can be found in these documents:

- Department for Communities and Local Government – Fire safety guidance for sleeping accommodation

- Local government guide – Fire safety in purpose-built blocks of flats

- The Housing Health and Safety Rating System (HHSRS) guidance on fire (page 148)

- Further guidance is also available from LACORS here.

This is a suggested method for carrying out a Fire Risk Assessment, (although the following gives an overview of how to undertake a risk assessment any method that achieves the above aims will be acceptable)

The fire risk assessment should be carried out in a practical and systematic way and enough time must be allocated to the exercise. It may be useful to subdivide larger and mixed use premises into rooms or a series of assessment areas using natural boundaries (for example kitchens, offices and stores; and corridors, stairways and external routes). The process can be broken down into five steps:

1. Identify fire hazards

2. Identify people at risk

3. Evaluate, remove or reduce risk and protect against remaining risk.

4. Record, plan and inform or train

5. Review

Step 1: identify the hazards within the premises

For a fire to start, three things are required: a source of ignition, fuel and oxygen. If any one of these is absent, a fire cannot start. Taking measures to avoid the three coming together will therefore reduce the chances of a fire occurring.

1. Sources of ignition: these may include:

Smokers' materials such as cigarettes, matches and lighters naked flames, for example candies and night lights;

Electric, gas or oil fired heaters (fixed or portable); boilers;

Cookers, toasters and other kitchen equipment (especially when shared);

Faulty or misused electrical equipment;

Electric blankets, computers, TVs, washing machines and dryers; lighting equipment (fixed and movable), for example halogen lamps and table lamps;

The electrical installation itself; such as old and outdated wiring and fuse boxes and;

The overloading of electrical sockets;

The gas installation.

2. Sources of fuel: these may include

Furniture, furnishings, textiles, bedding, clothing, curtains & laundry;

Accumulations of unwanted mail, waste paper, cardboard, newspapers and magazines, (including that awaiting recycling collection);

Waste storage and refuse containers;

Flammable liquid based products such as paint, varnish, thinners, adhesives, white spirit, methylated spirit and cooking oils; Liquefied gas (LPG), paraffin, heating oils and petrol;

Decorations for seasonal and religious occasions;

Plastics and rubber such as videotapes, polyurethane foam filled furniture and polystyrene based display materials; and wall, floor and ceiling coverings and surface finishes.

Note: Compliance with the regulations concerning gas, electrical and furniture safety will reduce the risk presented by some of the items listed above.

Particular care should be taken when premises are undergoing alteration, repair or redecoration. At such times flammable materials may be stored in the premises, possibly in escape routes or in rooms which are otherwise unused. Care should be taken as to where and how these products are stored. Premises which normally have good fire precautions and present a low fire risk may have their fire safety compromised by temporary careless storage of these products or by the disabling of fire precautions during the period of the works.

3. Sources of oxygen

In domestic premises the oxygen source will be the air in the building and where only normal natural domestic ventilation is provided the risk will

generally be normal.

Step 2: Identify people at risk

In general this will be the occupiers and their visitors and anybody working in the premises such as a caretaker or cleaner and any visiting contractors. Only in buildings with mixed residential and commercial use are there likely to be other people to consider.

The risk assessment should consider people at risk, who may include:

People asleep (who will be disorientated and slow to respond);

People who are unfamiliar with the premises (guests and visitors);

People with disabilities (including mobility impairment and hearing or vision impairment);

People who may have some other reason for not being able to leave the premises quickly (such as parents with young children);

People who are sensorial impaired due to alcohol, drugs or medication; unaccompanied children and young people;

Anyone working in enclosed, isolated parts of the building; and anyone who has difficulty understanding English.

When evaluating the risk to people with disabilities it may be necessary to discuss their individual needs with them or seek professional advice.

Any vulnerable group including the elderly and the very young

Step 3: evaluate, remove or reduce risk and protect against remaining risk

Hazards should be removed where it is practicable to do so, and where they cannot be removed they should be reduced as far as possible. What is considered reasonable in a particular case will depend on an evaluation of the potential to cause harm and the likelihood of that harm occurring.

Some simple examples are given below:

Replace portable heating appliances with fixed convector heaters or a central heating system;

Ensure electrical sockets are adequate in number and sited appropriately to avoid overloading and trailing leads;

Ensure electrical, mechanical and gas equipment is installed, used, maintained and protected in accordance with the manufacturer's instructions;

Ensure all furniture complies with the Furniture and Furnishings (Fire) (Safety) Regulations 1988;

Ensure combustible items such as furniture, laundry and decorations are stored properly and are kept away from potential ignition sources such as cookers, heaters and boilers;

Ensure refuse is properly stored and disposed of; and in crowded accommodation, provide adequate shelving and cupboard space so that

everyday items are not in proximity to cookers, heaters and so on.

Having taken measures to remove or reduce fire hazards as far as is practicable, adequate fire precautions should be in place to warn people in the event of a fire and to allow them to escape to a place of safety.

Step 4: record, plan, inform, instruct and train

Your HMO Licence places a requirement that having undertaken the risk assessment you must make a written record of the "significant findings". The Significant findings are the actions to be taken as a result of the assessment and details of anyone at particular risk. Significant findings should include details of:

The fire hazards that have been identified (but ignore trivial things such as a tin of solvent based glue);

The actions taken, or which will be taken, to remove or reduce the chance of a fire occurring (preventive measures);

Persons who may be at risk, particularly those especially at risk;

The actions taken, or which will be taken, to reduce the risk to people from the spread of fire and smoke (protective measures);

The actions people need to take if a fire occurs. For most HMO's this will simply be to evacuate the property in the case of a fire and to summon the Fire & Rescue Service.

Any information, instruction and training identified as being required, and how it will be given; and any discussions that have taken place with residents (or if appropriate, with staff).

Example templates are shown below, and a blank template for you to use can be found at the end of this document, however, any alternative format will be acceptable provided it. Contains all the information above and forms a 'suitable and sufficient risk assessment'.

Alternatively electronic versions are available on our website:

An appropriate emergency plan should be put in place. In most residential accommodation this is unlikely to extend beyond advising residents what to do in the event of a fire or fire alarm and how to contact the fire and rescue service. In large or mixed use premises a more sophisticated plan may be necessary.

Step 5: review

The risk assessment and the general fire precautions in the premises should be reviewed regularly. There is no specific timescale for this other than where there is a reason to suspect that it is no longer valid or where there has been a significant change in the premises, however as a minimum an the risk assessment should be reviewed annually.

In practice the fire precautions should be kept under constant review. Where problems are identified they should be dealt with as soon as possible.