# Landlord Fire Precaution Records

This will help to provide evidence of your management and ongoing maintenance of the property. It can be used in conjunction with your fire risk assessment and is a tool that will enable you to note and record changes in the property which may in turn affect the hazards and risks of fire in the property.

Fire Doors - must close completely from a 45 degree angle when room windows closed, intumescent and smoke seals must be fitted correctly.

Common Parts - must be kept clean, in good repair and free from obstructions. Any structural defects should also be noted and repaired   e.g. hole in wall.

Fire alarm - routine testing of call points and detectors. An annual inspection by a competent electrician is required for BS 5839 Part 6 Grade A systems with a control panel. All false alarms shall also be recorded.

Emergency Lights - a test key may be provided by the installer, alternatively you may turn the electricity off at the mains. Consult the system handbook.

| January | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| February | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| March | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| April | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| May | Date Checked |  | Defects found |  | Actions Taken and date |  |
| --- | --- | --- | --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell |  | Blank cell |  |  |
| Common Parts | Blank cell |  |  |  |  |  |
| Fire Alarm | Blank cell |  |  |  |  |  |
| Emergency Lights | Blank cell |  |  |  |  |  |
| Other | Blank cell |  |  |  |  |  |

Signature of manager

| June | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| July | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| August | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| September | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| October | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| November | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank cell | Blank cell | Blank cell |
| Common Parts | Blank cell |  |  |
| Fire Alarm | Blank cell |  |  |
| Emergency Lights | Blank cell |  |  |
| Other | Blank cell |  |  |

Signature of manager

| December | Date Checked | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Fire Doors | Blank Cell | Blank Cell | Blank Cell |
| Common Parts | Blank Cell |  |  |
| Fire Alarm | Blank Cell |  |  |
| Emergency Lights | Blank Cell |  |  |
| Other |  |  |  |

Signature of manager

| ANNUAL CHECKS-: Certificates must be kept detailing findings and contact details for contractor |  |  |  |
| --- | --- | --- | --- |
|  | Date checked & company/ contractor details | Defects found | Action taken |
| Gas safety | Blank cell | Blank cell | Blank cell |
| Fire alarm (Grade A system only) | Blank cell | Blank cell | Blank cell |
| Electrical appliances | Blank cell | Blank cell | Blank cell |
| Sprinkler system | Blank cell | Blank cell | Blank cell |